## Slide 1: DNA Cleanup with SPRI Beads
Laboratory Module
Notes: Organization logos will be included in the video’s outro animation

## Slide 2: Why use SPRI cleanups?
SPRI: Solid Phase Reversible Immobilisation
Removes contaminants introduced during library preparation
Does not compromise sample quality
Easily modified for various target fragment lengths

## Slide 3: SPRI Overview
Add beads
Binding
Remove
Supernatant
EtOH wash
Elute in H2O
Transfer elution
Created with BioRender.com
Notes: figure made in biorender

## Slide 4
Image from Broad Institute Bootcamp: https://www.broadinstitute.org/genome-sequencing/broadillumina-genome-analyzer-boot-camp

## Slide 5: SPRI Overview
Add beads
Binding
Remove
Supernatant
EtOH wash
Elute in H2O
Transfer elution
Created with BioRender.com
Notes: figure made in biorender

## Slide 6
Notes: figure made in biorender

## Slide 7: Important considerations for SPRI cleanups
Divide beads into 4-5 mL aliquots
Always warm beads to room temperature and mix well before using
80% ethanol should be freshly prepared